## Slide 1: Digital Holographic Reconstruction
Tom Zimmerman
IBM Research-Almaden
Center for Cellular Construction
2.22.22
This material is based upon work supported by the NSF under Grant No. DBI-1548297.
Disclaimer: Any opinions, findings and conclusions or recommendations expressed in this material are those of the authors and do not necessarily reflect the views of the National Science Foundation.

## Slide 2
Any time-varying (complex) sound can be analyzed to find its frequency components.
Any complex wave can be constructed by adding together sine waves of appropriate frequency, amplitude, and phase.
Fourier Analysis & Synthesis
https://hearinghealthmatters.org

## Slide 3
https://youtu.be/gwaYwRwY6PU

## Slide 4
Image of “cameraman” Copyright MIT

## Slide 5
https://youtu.be/3137dDa6P4s

## Slide 6
Low Pass Filter
https://youtu.be/oACegp4iGi0

## Slide 7
https://youtu.be/oACegp4iGi0
High Pass Filter

## Slide 8
Multiplication in the Frequency Domain = Convolution in the Time Domain
Low Pass Filtering in the Spatial and Frequency Domain
Convolution Kernel

## Slide 9
Hetch, Optics
https://youtu.be/MQm6ZP1F6ms
Cross-Correlation
Test Image f(x,y) Template Image h(x,y) Cross Correlation
C(i,j) = f(x,y)h(i+x,j+y)dxdy
C=F-1[F{f} F{h}]
Multiplication in the Frequency Domain = Convolution in the Time Domain

## Slide 10
Huygens Principle (1678)
W/D
D
W
2W/D
3W/D

## Slide 11
https://www.sciencedirect.com/science/article/pii/S1046202317302384

## Slide 12
https://manoharan.seas.harvard.edu/holographic-microscopy
Reference Beam
Interference Pattern
Subject Beam
https://holopy.readthedocs.io/en/latest/users/index.html
https://github.com/manoharan-lab/holopy
Manoharan Lab, Harvard
Z
Image Sensor
LASER
Subject
(point)
Fresnel Zone Plate
Creating Hologram of Point Object

## Slide 13
Reconstruction with Laser
Laser
Reconstructed
Subject
Photographic Film of Interference Pattern
(Fresnel Zone Plate for point source)

## Slide 14
https://youtu.be/oq9UsYHyUvo

## Slide 15
https://youtu.be/oq9UsYHyUvo

## Slide 16
https://youtu.be/oq9UsYHyUvo

## Slide 17
https://youtu.be/oq9UsYHyUvo

## Slide 18
# make a grid the same size of the image
M, N = input_img.shape # get image size, rows M, columns N
kx,ky = x / (dxy * N), y / (dxy * M)
kxy2 = (kx * kx) + (ky * ky)
# compute phase aberration in the grid
_ph_abbr = np.exp(-1j * np.pi * wvlen * zdist * kxy2) # Pi * wavelength * Z distance
https://youtu.be/_BzEi3PD3Y0
(no complex part)

## Slide 20
https://stackoverflow.com/questions/7765810/is-there-a-way-to-detect-if-an-image-is-blurry
// OpenCV port of 'LAPM' algorithm (Nayar89)
double modifiedLaplacian(const cv::Mat& src)
{
cv::Mat M = (Mat_<double>(3, 1) << -1, 2, -1);
cv::Mat G = cv::getGaussianKernel(3, -1, CV_64F);
cv::Mat Lx;
cv::sepFilter2D(src, Lx, CV_64F, M, G);
cv::Mat Ly;
cv::sepFilter2D(src, Ly, CV_64F, G, M);
cv::Mat FM = cv::abs(Lx) + cv::abs(Ly);
double focusMeasure = cv::mean(FM).val[0];
return focusMeasure;
}
// OpenCV port of 'LAPV' algorithm (Pech2000)
double varianceOfLaplacian(const cv::Mat& src)
{
cv::Mat lap;
cv::Laplacian(src, lap, CV_64F);
cv::Scalar mu, sigma;
cv::meanStdDev(lap, mu, sigma);
double focusMeasure = sigma.val[0]*sigma.val[0];
return focusMeasure;
}
// OpenCV port of 'TENG' algorithm (Krotkov86)
double tenengrad(const cv::Mat& src, int ksize)
{
cv::Mat Gx, Gy;
cv::Sobel(src, Gx, CV_64F, 1, 0, ksize);
cv::Sobel(src, Gy, CV_64F, 0, 1, ksize);
cv::Mat FM = Gx.mul(Gx) + Gy.mul(Gy);
double focusMeasure = cv::mean(FM).val[0];
return focusMeasure;
}
// OpenCV port of 'GLVN' algorithm (Santos97)
double normalizedGraylevelVariance(const cv::Mat& src)
{
cv::Scalar mu, sigma;
cv::meanStdDev(src, mu, sigma);
double focusMeasure = (sigma.val[0]*sigma.val[0]) / mu.val[0];
return focusMeasure;
}
Autofocus Metric Algorithm

## Slide 21
Canny Edge Detection Process
An improved image processing technique for asphalt concrete X-ray CT images Jun 2013, Habtamu M. Zelelew, HM et al.
https://www.mathworks.com/help/images/apply-gaussian-smoothing-filters-to-images.html
+2 -1 -2 +148 -4 +1
+2 -1 +35 +72 +35 +1
Definitely Edge
Edge only if connected to Definite Edge
Never an Edge

## Slide 22
https://www.legupcomputing.com/blog/index.php/2017/08/25/canny-edge-detector-using-legup/

## Slide 23
https://www.pyimagesearch.com/2019/03/04/holistically-nested-edge-detection-with-opencv-and-deep-learning/
Canny Edge Detection

## Slide 24
http://i.stack.imgur.com/GvsBA.jpg
https://www.legupcomputing.com/blog/index.php/2017/08/25/canny-edge-detector-using-legup/
1/16*
Sobel Convolution Kernels https://homepages.inf.ed.ac.uk/rbf/HIPR2/sobel.htm
Sobel Convolution Kernels

## Slide 25
The gradient, represented by the blue arrows, denote the direction of greatest change of a scalar function. The values of the function are represented in greyscale and increase in value from white (low) to dark (high).
The divergence of different vector fields. The divergence of vectors from point (x,y) equals the sum of the partial derivative-with-respect-to-x of the x-component and the partial derivative-with-respect-to-y of the y-component at that point:
The Laplace operator is a second order differential operator in the n-dimensional Euclidean space, defined as the divergence (∇·) of the gradient (∇f ). Thus if f is a twice-differentiable real-valued function, then the Laplacian of f is defined by

## Slide 26
Div, Grad, Curl, and All That: An Informal Text on Vector Calculus
https://www.youtube.com/watch?v=vvzTEbp9lrc
Maxwell’s Equations