## Slide 1
Holographic Microscope Performance
Ziah Dean
SFSU, Center for Cellular Construction
4.12.22
This material is based upon work supported by the NSF under Grant No. DBI-1548297.
Disclaimer: Any opinions, findings and conclusions or recommendations expressed in this material are those of the authors and do not necessarily reflect the views of the National Science Foundation.

## Slide 2
Laser
Specimen
(USAF)
Detector
Raspberry Pi
X-Y-Z stage
X-Y-Z stage
So =3.95mm (Z)
f=25mm
Our setup
Stephan Amann setup

## Slide 3
Laser
Specimen
(USAF)
Detector
Raspberry Pi
X-Y-Z stage
X-Y-Z stage
So
f
Our setup
Stephan Amann setup

## Slide 4
Laser
Specimen
(USAF)
Detector
Raspberry Pi
X-Y-Z stage
X-Y-Z stage
So =3.95mm (Z)
f=25mm

## Slide 5
Laser
Specimen
(USAF)
Detector
Raspberry Pi
X-Y-Z stage
X-Y-Z stage
Chart: Pixel Size (um)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
 | 8.5 | 4.48 | 6.3 | 14.76 | 23.68 | 32 | 37.9 | 38.44 | 36.36 | 35.92 | 39.2 | 42.84 | 45.52 | 44.96 | 42.1 | 37.6 | 34.36 | 35.32 | 34.14 | 33 | 30 | 25.92 | 19 | 11.96 | 5.98 | 3
Chart: Pixel Size (um)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
 | 1.5 | 3 | 10 | 18.5 | 22.5 | 23.5 | 23.5 | 21.5 | 16 | 9 | 5.5 | 9.5 | 18 | 25.5 | 28 | 23.5 | 18 | 18 | 24.5 | 33.5 | 42 | 46 | 44 | 38 | 28.5 | 18.5 | 10.5
Group 7 Element 1
3.9 µm
Holographic Microscope
USAF Image
310x288 Cropped 8-bit .jpg
Holographic Microscopy for Research Purposes
Robust and high throughput imaging
Compact and inexpensive system
Tracking in 3D
Large depth of field
Optical Microscope
System Resolution

## Slide 6
Raw
Reco
Red Laser Power= 0.86mA
Group 7 Element 1
3.9 µm
Z= 19120
Actual Z=22000
Pi Zero on PC
5MP Cam
Student Holoscope testbed Updates